# Reporting and Appraisal Tool Selection Guide

AIHE-RG02

Primary chapter: 11 — Evidence, Validation, and Real-World Evaluation

Additional chapter alignment: 7, 8, 11

Version: V1.0

# Purpose

Match evidence type and study stage to current reporting and appraisal instruments without treating checklist completion as proof of validity, effectiveness, or regulatory conformity.

# Instructions

Define the decision question before selecting an instrument or framework.

Verify the exact edition, publication date, jurisdiction, scope, and status of external sources.

Record local evidence, judgement, ownership, gaps, and the resulting decision.

Review and update the record when law, standards, policy, evidence, or institutional context changes.

# Editable register or checklist

| Evidence or study type | Reporting instrument | Appraisal or complementary approach | Status | What it supports | What it does not establish | Version checked | Reviewer | Local evidence gap |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Prediction model development or validation | TRIPOD+AI | PROBAST+AI | Published AI-updated instruments | Transparent reporting and risk-of-bias/applicability assessment | Local usefulness or adoption |  |  |  |
| Diagnostic accuracy | STARD-AI | Reference-standard and applicability appraisal | Published AI-specific reporting guideline | Transparent diagnostic AI reporting | Regulatory conformity or clinical utility |  |  |  |
| Early live clinical evaluation | DECIDE-AI | Local safety, workflow, human-factors and economic review | Published reporting guideline | Transparent early-stage live evaluation | Approval for unrestricted deployment |  |  |  |
| Trial protocol | SPIRIT-AI | Protocol feasibility and intervention review | Published consensus extension | Complete AI trial protocol reporting | Trial quality or successful implementation |  |  |  |
| Trial results | CONSORT-AI | Risk-of-bias, applicability and economic appraisal | Published consensus extension | Complete AI trial reporting | Cost-effectiveness or local transferability |  |  |  |
| Economic evaluation | CHEERS 2022 / CHEERS-AI | Method, model validation and uncertainty appraisal | Published reporting guidance | Transparent economic reporting | Methodological appropriateness by itself |  |  |  |
| Systematic review | PRISMA 2020 | Design-specific bias and certainty appraisal | Published reporting guideline | Transparent review reporting | Reliability of included evidence by itself |  |  |  |
| Qualitative evidence synthesis | Review-specific reporting guidance | GRADE-CERQual | Established confidence-appraisal approach | Transparent confidence judgements | Quantitative effect size or causal proof |  |  |  |