# Diagnostic and Predictive Evidence Appraisal Checklist

AIHE-RG06

Primary chapter: 11 — Evidence, Validation, and Real-World Evaluation

Additional chapter alignment: 3, 7, 8, 11

Version: V1.0

# Purpose

Appraise reference standards, index tests, data partitions, calibration, diagnostic accuracy, bias, subgroup performance, clinical utility, and downstream resource consequences.

# Instructions

Define the decision question before selecting an instrument or framework.

Verify the exact edition, publication date, jurisdiction, scope, and status of external sources.

Record local evidence, judgement, ownership, gaps, and the resulting decision.

Review and update the record when law, standards, policy, evidence, or institutional context changes.

# Editable register or checklist

| Domain | Appraisal question | Evidence reviewed | Judgement | Material uncertainty | Required local evidence or safeguard | Owner | Decision consequence |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Intended use and pathway | Is the decision, user, population, timing, action and comparator explicit? |  |  |  |  |  |  |
| Dataset construction | Are selection, exclusions, missingness, partitions and leakage addressed? |  |  |  |  |  |  |
| Model or index test | Is the exact version, preprocessing, threshold and output defined? |  |  |  |  |  |  |
| Reference standard | Is it appropriate, independent, consistent and blinded where feasible? |  |  |  |  |  |  |
| Accuracy | Are task-appropriate metrics and uncertainty reported? |  |  |  |  |  |  |
| Calibration and thresholds | Are calibration and threshold-specific consequences evaluated? |  |  |  |  |  |  |
| Transportability | Does the evidence represent the intended local context? |  |  |  |  |  |  |
| Subgroups and equity | Are performance, access and consequences assessed across relevant groups? |  |  |  |  |  |  |
| Human-AI performance | Are acceptance, override, review burden and error correction measured? |  |  |  |  |  |  |
| Clinical utility | Does the system improve decisions or outcomes versus realistic alternatives? |  |  |  |  |  |  |
| Economic consequences | Are downstream resource, cost and budget consequences included? |  |  |  |  |  |  |
| Lifecycle evidence | Are monitoring, drift, update and incident plans credible? |  |  |  |  |  |  |