## Instructions
AIHE Python Companion — Module 09: Temporal validation and drift monitoring
Purpose | Tracks discrimination, calibration error, score distribution, and feature drift across time periods.
Workbook type | Synthetic worked example
Book themes | Temporal validation, model drift, material change, algorithmovigilance, and lifecycle monitoring.
Required inputs | `Monitoring` sheet with period, actual outcome, score, feature 1, and feature 2.
Expected outputs | Period-level AUC and Brier score, PSI and KS drift measures, review flags, and performance/drift charts.
Notebook | notebooks/09_temporal_validation_and_drift.ipynb
Standalone script | scripts/09_temporal_validation_and_drift.py
Run command | python scripts/09_temporal_validation_and_drift.py --input sample_data/09_temporal_validation_and_drift_sample.xlsx --output example_outputs/09_temporal_validation_and_drift
Privacy | Use synthetic or appropriately governed data only. Do not upload identifiable patient data to public repositories.
Status | Educational example; not a validated clinical, regulatory, or reimbursement instrument.

## Monitoring
period | actual | score | feature_1 | feature_2
2026-Q1 | 0 | 0.001 | 1.316 | 1.545
2026-Q1 | 1 | 0.7805 | 1.406 | 3.193
2026-Q1 | 0 | 0.0168 | 1.272 | 2.959
2026-Q1 | 0 | 0.2144 | 1.992 | 3.139
2026-Q1 | 0 | 0.0595 | -0.499 | 2.079
2026-Q1 | 1 | 0.6934 | 1.084 | 3.416
2026-Q1 | 1 | 0.7156 | -0.118 | 1.623
2026-Q1 | 0 | 0.001 | -0.165 | 2.824
2026-Q1 | 0 | 0.052 | 2.905 | 2.697
2026-Q1 | 0 | 0.001 | -1.721 | 2.128
2026-Q1 | 0 | 0.1917 | 0.171 | 2.359
2026-Q1 | 0 | 0.3192 | 0.363 | 1.712
2026-Q1 | 1 | 0.9427 | 1.045 | 3.066
2026-Q1 | 0 | 0.001 | 0.998 | 1.29
2026-Q1 | 0 | 0.1163 | -1.044 | 2.286
2026-Q1 | 0 | 0.2842 | 0.535 | 0.177
2026-Q1 | 0 | 0.1135 | 0.165 | 2.933
2026-Q1 | 0 | 0.2895 | 1.967 | 1.842
2026-Q1 | 0 | 0.2642 | 0.861 | 2.144
2026-Q1 | 1 | 0.7538 | 0.673 | 1.851
2026-Q1 | 0 | 0.0914 | -0.183 | 2.242
2026-Q1 | 1 | 0.8684 | 0.664 | 1.907
2026-Q1 | 0 | 0.0637 | -0.726 | 3.181
2026-Q1 | 1 | 0.5977 | 0.184 | 2.864
2026-Q1 | 0 | 0.152 | 1.562 | 1.384
2026-Q1 | 0 | 0.1526 | -1.069 | 0.383
2026-Q1 | 0 | 0.0057 | -1.144 | 3.175
2026-Q1 | 0 | 0.3267 | -0.733 | 2.189
2026-Q1 | 0 | 0.001 | 0.146 | 1.649
2026-Q1 | 1 | 0.8725 | -0.615 | 2.613
2026-Q1 | 0 | 0.2999 | 0.555 | 0.317
2026-Q1 | 0 | 0.2731 | 0.537 | 1.593
2026-Q1 | 0 | 0.3174 | -0.017 | 2.578
2026-Q1 | 1 | 0.7272 | -0.108 | 1.351
2026-Q1 | 1 | 0.5992 | -0.767 | 0.893
2026-Q1 | 0 | 0.6118 | 0.348 | 1.707
2026-Q1 | 0 | 0.4554 | -0.689 | 1.968
2026-Q1 | 1 | 0.7278 | 0.095 | 1.955
2026-Q1 | 0 | 0.1232 | -0.05 | 2.948
2026-Q1 | 0 | 0.1333 | -1.011 | 2.452
2026-Q1 | 0 | 0.1613 | -0.852 | 1.78
2026-Q1 | 0 | 0.5518 | 3.668 | 2.4
2026-Q1 | 0 | 0.2735 | 1.371 | 2.328
2026-Q1 | 0 | 0.005 | 0.657 | 3.139
2026-Q1 | 0 | 0.0735 | -0.414 | 2.669
2026-Q1 | 0 | 0.1405 | 0.537 | 3.874
2026-Q1 | 1 | 0.5309 | 0.875 | 2.492
2026-Q1 | 1 | 0.6405 | 0.254 | 1.871
2026-Q1 | 0 | 0.1942 | -0.849 | 1.907
2026-Q1 | 1 | 0.6216 | -0.159 | 1.015
2026-Q1 | 0 | 0.001 | 0.54 | 1.326
2026-Q1 | 0 | 0.4015 | -0.651 | 2.161
2026-Q1 | 0 | 0.067 | 1.071 | 2.827
2026-Q1 | 0 | 0.2904 | -1.781 | 1.483
2026-Q1 | 0 | 0.001 | -1.417 | 1.285
2026-Q1 | 0 | 0.2837 | 0.739 | 2.575
2026-Q1 | 0 | 0.1238 | -0.67 | 1.31
2026-Q1 | 0 | 0.0741 | -0.401 | 3.73
2026-Q1 | 0 | 0.221 | -1.899 | 3.183
2026-Q1 | 1 | 0.5727 | 0.403 | 2.376
2026-Q1 | 0 | 0.3244 | 0.618 | 1.945
2026-Q1 | 0 | 0.425 | 2.171 | 2.06
2026-Q1 | 0 | 0.0552 | -1.717 | 2.378
2026-Q1 | 0 | 0.0141 | -0.562 | 1.706
2026-Q1 | 0 | 0.2901 | 1.981 | 1.661
2026-Q1 | 0 | 0.4082 | 0.129 | 1.197
2026-Q1 | 0 | 0.0453 | 0.146 | 3.055
2026-Q1 | 0 | 0.2748 | 0.654 | 1.47
2026-Q1 | 1 | 0.9168 | -0.371 | 2.035
2026-Q1 | 1 | 0.5603 | 0.044 | 3.563
2026-Q1 | 0 | 0.001 | -0.094 | 2.095
2026-Q1 | 0 | 0.2512 | 1.421 | 1.351
2026-Q1 | 0 | 0.4041 | -0.14 | 2.457
2026-Q1 | 0 | 0.001 | 0.363 | 1.185
2026-Q1 | 0 | 0.3216 | 0.135 | 2.122
2026-Q1 | 0 | 0.1281 | -0.352 | 2.162
2026-Q1 | 0 | 0.2561 | -0.749 | 1.448
2026-Q1 | 1 | 0.9572 | 0.238 | 2.19
2026-Q1 | 0 | 0.0761 | 0.249 | 1.919
2026-Q1 | 1 | 0.3942 | 0.39 | 2.043
2026-Q1 | 0 | 0.0215 | 1.177 | 1.689
2026-Q1 | 0 | 0.0412 | -0.257 | 1.834
2026-Q1 | 0 | 0.2785 | 0.417 | 1.296
2026-Q1 | 0 | 0.0207 | 0.288 | 4.452
2026-Q1 | 0 | 0.001 | -0.799 | 4.243
2026-Q1 | 0 | 0.0653 | 1.673 | 2.023
2026-Q1 | 0 | 0.3475 | 1.08 | 2.521
2026-Q1 | 0 | 0.001 | -0.729 | 1.907
2026-Q1 | 0 | 0.2344 | 0.039 | 1.1
2026-Q1 | 0 | 0.001 | -1.267 | 1.788
2026-Q1 | 0 | 0.6139 | -0.038 | 4.548
2026-Q1 | 0 | 0.001 | -0.179 | 2.129
2026-Q1 | 0 | 0.23 | 0.805 | 0.44
2026-Q1 | 0 | 0.2148 | -1.313 | 2.156
2026-Q1 | 1 | 0.5599 | -1.019 | 1.971
2026-Q1 | 1 | 0.6214 | -1.031 | 3.516
2026-Q1 | 1 | 0.7259 | -1.204 | 2.163
2026-Q1 | 0 | 0.1246 | -0.509 | 1.342
2026-Q1 | 0 | 0.0432 | 0.499 | 1.218
2026-Q1 | 0 | 0.1071 | 0.833 | 1.089
2026-Q1 | 0 | 0.001 | -0.708 | 2.299
2026-Q1 | 0 | 0.3101 | 0.221 | 0.714
2026-Q1 | 0 | 0.1879 | 0.098 | 1.26
2026-Q1 | 1 | 0.9683 | -1.117 | 1.969
2026-Q1 | 0 | 0.0145 | 1.159 | 3.094
2026-Q1 | 0 | 0.0388 | -1.327 | 2.236
2026-Q1 | 0 | 0.1182 | 1.358 | 1.808
2026-Q1 | 1 | 0.6857 | -1.32 | 2.053
2026-Q1 | 0 | 0.3113 | 0.695 | 2.754
2026-Q1 | 0 | 0.2508 | -0.945 | 2.356
2026-Q1 | 0 | 0.0855 | -0.116 | 2.876
2026-Q1 | 1 | 0.7034 | -0.164 | 2.833
2026-Q1 | 1 | 0.7591 | -0.429 | 1.911
2026-Q1 | 0 | 0.3758 | 0.741 | 1.32
2026-Q1 | 1 | 0.719 | 0.547 | 2.043
2026-Q1 | 0 | 0.1157 | 1.446 | 2.518
2026-Q1 | 0 | 0.1219 | -0.742 | 1.896
2026-Q1 | 1 | 0.7084 | -1.903 | 1.099
2026-Q1 | 0 | 0.4498 | 1.114 | 2.068
2026-Q1 | 0 | 0.281 | 0.014 | 1.857
2026-Q1 | 0 | 0.0476 | 0.003 | 2.027
2026-Q1 | 0 | 0.001 | 1.17 | 2.177
2026-Q1 | 1 | 0.999 | 0.292 | 2.981
2026-Q1 | 0 | 0.0024 | -0.866 | 1.115
2026-Q1 | 0 | 0.1454 | 0.827 | 0.564
2026-Q1 | 0 | 0.1247 | 1.109 | 2.707
2026-Q1 | 0 | 0.2676 | -1.183 | 2.14
2026-Q1 | 0 | 0.2132 | 0.023 | 1.397
2026-Q1 | 0 | 0.0834 | -0.996 | 1.2
2026-Q1 | 1 | 0.9755 | 1.526 | 1.345
2026-Q1 | 0 | 0.001 | 1.701 | 2.967
2026-Q1 | 0 | 0.4208 | 0.883 | 1.718
2026-Q1 | 0 | 0.2952 | 0.499 | 1.784
2026-Q1 | 0 | 0.4141 | 0.335 | 0.768
2026-Q1 | 0 | 0.411 | -1.079 | 1.784
2026-Q1 | 1 | 0.7916 | 0.451 | 2.189
2026-Q1 | 0 | 0.4213 | 1.22 | 2.958
2026-Q1 | 1 | 0.6325 | 0.723 | 2.202
2026-Q1 | 0 | 0.3973 | 0.54 | 1.164
2026-Q1 | 1 | 0.6733 | -0.035 | 0.539
2026-Q1 | 0 | 0.2887 | -1.192 | 1.878
2026-Q1 | 1 | 0.8995 | 0.272 | 2.76
2026-Q1 | 1 | 0.8297 | 2.885 | 1.112
2026-Q1 | 1 | 0.999 | -1.024 | 2.2
2026-Q1 | 0 | 0.2691 | -0.836 | 1.056
2026-Q1 | 0 | 0.001 | -1.14 | 3.781
2026-Q1 | 0 | 0.001 | -0.208 | 1.503
2026-Q1 | 1 | 0.5997 | 1.534 | 1.011
2026-Q1 | 0 | 0.001 | 0.232 | 2.206
2026-Q1 | 0 | 0.001 | 1.487 | 0.963
2026-Q1 | 0 | 0.1385 | -0.09 | 0.967
2026-Q1 | 1 | 0.7583 | -0.182 | 2
2026-Q1 | 1 | 0.756 | 1.929 | 3.017
2026-Q1 | 0 | 0.3582 | 1.425 | 1.633
2026-Q1 | 0 | 0.1547 | -1.021 | 1.548
2026-Q1 | 0 | 0.0853 | 1.019 | 0.495
2026-Q1 | 1 | 0.5449 | -0.525 | 2.681
2026-Q1 | 0 | 0.131 | -1.043 | 1.862
2026-Q1 | 0 | 0.1066 | 0.5 | 1.408
2026-Q1 | 1 | 0.7108 | -1.143 | 3.009
2026-Q1 | 0 | 0.0571 | 0.52 | 0.899
2026-Q1 | 0 | 0.001 | 1.155 | 3.112
2026-Q1 | 1 | 0.8439 | -0.532 | 1.262
2026-Q1 | 1 | 0.6689 | 0.995 | 2.886
2026-Q1 | 0 | 0.0448 | -0.968 | 1.262
2026-Q1 | 1 | 0.6239 | 0.425 | 1.202
2026-Q1 | 0 | 0.001 | 0.319 | 2.379
2026-Q1 | 0 | 0.001 | 0.326 | 1.979
2026-Q1 | 1 | 0.8349 | -0.026 | 2.67
2026-Q1 | 0 | 0.173 | 0.806 | 1.482
2026-Q1 | 0 | 0.287 | 0.474 | 1.757
2026-Q1 | 0 | 0.417 | -0.826 | 2.277
2026-Q1 | 0 | 0.001 | 0.889 | 0.897
2026-Q1 | 0 | 0.0498 | 1.583 | 1.596
2026-Q1 | 0 | 0.12 | -0.932 | 1.498
2026-Q1 | 0 | 0.224 | -2.256 | 1.908
2026-Q1 | 0 | 0.169 | 0.812 | 1.629
2026-Q1 | 0 | 0.246 | 1.197 | 1.578
2026-Q1 | 1 | 0.6385 | -0.916 | 2.048
2026-Q1 | 1 | 0.6121 | 2.017 | 0.434
2026-Q2 | 0 | 0.001 | 1.767 | 1.291
2026-Q2 | 0 | 0.2815 | -0.201 | 1.805
2026-Q2 | 0 | 0.4454 | 0.7 | 2.183
2026-Q2 | 0 | 0.2851 | -0.323 | 2.73
2026-Q2 | 0 | 0.2134 | -0.771 | 3.034
2026-Q2 | 0 | 0.001 | -0.731 | 1.86
2026-Q2 | 0 | 0.0891 | 1.135 | 1.366
2026-Q2 | 0 | 0.2742 | -0.364 | 1.259
2026-Q2 | 0 | 0.2342 | 0.546 | 0.955
2026-Q2 | 0 | 0.001 | 0.763 | 2.126
2026-Q2 | 0 | 0.001 | 1.407 | 1.864
2026-Q2 | 0 | 0.001 | 1.379 | 1.726
2026-Q2 | 0 | 0.2086 | -0.357 | 2.281
2026-Q2 | 0 | 0.2482 | 1.857 | 0.093
2026-Q2 | 0 | 0.001 | -1.215 | 1.64
2026-Q2 | 0 | 0.1906 | -0.116 | 2.12
2026-Q2 | 0 | 0.001 | -0.477 | 1.261
2026-Q2 | 0 | 0.001 | -0.251 | 0.664
2026-Q2 | 0 | 0.4037 | -0.234 | 1.953
2026-Q2 | 0 | 0.2639 | 0.701 | 1.942
2026-Q2 | 0 | 0.001 | 0.453 | 1.474
2026-Q2 | 0 | 0.0102 | -0.667 | 3.671
2026-Q2 | 0 | 0.2377 | 2.931 | 0.536
2026-Q2 | 0 | 0.3644 | 0.976 | 0.71
2026-Q2 | 1 | 0.6194 | 1.313 | 1.108
2026-Q2 | 0 | 0.1519 | -0.494 | 3.064
2026-Q2 | 0 | 0.2091 | 0.123 | 0.709
2026-Q2 | 0 | 0.0244 | 0.351 | 1.294
2026-Q2 | 0 | 0.001 | 0.108 | 1.208
2026-Q2 | 0 | 0.1243 | 1.165 | 2.712
2026-Q2 | 0 | 0.001 | 1.124 | 1.327
2026-Q2 | 1 | 0.999 | 1.357 | 2.012
2026-Q2 | 0 | 0.1653 | -0.058 | 3.142
2026-Q2 | 0 | 0.001 | 1.072 | 1.673
2026-Q2 | 1 | 0.4757 | -0.849 | 0.282
2026-Q2 | 0 | 0.2049 | -0.354 | 1.929
2026-Q2 | 0 | 0.2413 | -0.378 | 3.174
2026-Q2 | 1 | 0.4515 | 1.76 | 1.8
2026-Q2 | 0 | 0.0551 | 1.213 | 2.43
2026-Q2 | 0 | 0.1835 | 0.127 | 2.487
2026-Q2 | 0 | 0.3077 | 1.187 | 2.1
2026-Q2 | 0 | 0.322 | 0.653 | 3.12
2026-Q2 | 1 | 0.6991 | -0.786 | 1.218
2026-Q2 | 0 | 0.001 | -1.071 | 1.771
2026-Q2 | 0 | 0.0421 | -0.124 | 1.401
2026-Q2 | 1 | 0.7253 | -0.91 | 1.602
2026-Q2 | 0 | 0.0167 | 0.876 | 3.551
2026-Q2 | 0 | 0.2225 | 2.357 | 2.116
2026-Q2 | 0 | 0.0943 | -0.042 | 3.19
2026-Q2 | 1 | 0.4495 | -0.18 | 1.824
2026-Q2 | 0 | 0.001 | -0.854 | 2.586
2026-Q2 | 1 | 0.5104 | 1.297 | 1.322
2026-Q2 | 1 | 0.5338 | -1.039 | 0.96
2026-Q2 | 1 | 0.7902 | -0.011 | 1.043
2026-Q2 | 0 | 0.2341 | 1.433 | 3.103
2026-Q2 | 0 | 0.3188 | 0.254 | 0.989
2026-Q2 | 1 | 0.5068 | -0.875 | 0.239
2026-Q2 | 0 | 0.3206 | 0.548 | 1.033
2026-Q2 | 0 | 0.1084 | 0.006 | 3.991
2026-Q2 | 0 | 0.001 | 0.538 | 2.625
2026-Q2 | 0 | 0.2754 | -0.119 | 0.855
2026-Q2 | 0 | 0.2882 | -0.275 | 3.054
2026-Q2 | 0 | 0.3666 | 1.027 | 1.378
2026-Q2 | 0 | 0.001 | -0.58 | 1.191
2026-Q2 | 0 | 0.001 | 0.54 | 0.182
2026-Q2 | 0 | 0.352 | -0.413 | 2.293
2026-Q2 | 0 | 0.001 | 0.678 | 1.065
2026-Q2 | 0 | 0.1295 | 0.756 | 4.093
2026-Q2 | 0 | 0.4595 | 0.179 | 1.916
2026-Q2 | 0 | 0.0194 | 0.527 | 1.254
2026-Q2 | 1 | 0.6285 | 0.197 | 2.405
2026-Q2 | 1 | 0.6732 | 0.203 | 1.581
2026-Q2 | 0 | 0.2262 | -0.484 | 1.859
2026-Q2 | 1 | 0.9735 | 0.344 | 1.739
2026-Q2 | 0 | 0.001 | 1.67 | 2.462
2026-Q2 | 1 | 0.6941 | 0.056 | 2.276
2026-Q2 | 0 | 0.2414 | -1.222 | 2.007
2026-Q2 | 0 | 0.2519 | 1.489 | 0.408
2026-Q2 | 0 | 0.1705 | -1.211 | 2.52
2026-Q2 | 0 | 0.0746 | 0.633 | 2.332
2026-Q2 | 1 | 0.8769 | -1.633 | -0.138
2026-Q2 | 1 | 0.7281 | 0.551 | 1.309
2026-Q2 | 0 | 0.0012 | 2.888 | 1.314
2026-Q2 | 1 | 0.6361 | 0.664 | 1.698
2026-Q2 | 0 | 0.001 | 1.255 | 2.391
2026-Q2 | 0 | 0.001 | 0.23 | 2.348
2026-Q2 | 0 | 0.005 | 0.484 | 1.237
2026-Q2 | 0 | 0.0966 | 0.09 | 1.655
2026-Q2 | 1 | 0.8266 | 1.421 | 1.921
2026-Q2 | 0 | 0.001 | 1.123 | 2.324
2026-Q2 | 0 | 0.3882 | 0.447 | 3.094
2026-Q2 | 1 | 0.1436 | -0.392 | 3.76
2026-Q2 | 0 | 0.001 | -1.218 | 2.413
2026-Q2 | 0 | 0.1328 | 0.503 | 1.997
2026-Q2 | 0 | 0.3416 | 0.697 | 1.031
2026-Q2 | 0 | 0.001 | -1.141 | 2.992
2026-Q2 | 0 | 0.2196 | 0.36 | 1.678
2026-Q2 | 1 | 0.999 | -0.722 | 2.822
2026-Q2 | 0 | 0.1808 | -1.351 | 2.904
2026-Q2 | 0 | 0.001 | -1.646 | 0.537
2026-Q2 | 0 | 0.0684 | 0.136 | 1.558
2026-Q2 | 0 | 0.2015 | 1.227 | 1.928
2026-Q2 | 0 | 0.001 | 1.685 | 2.083
2026-Q2 | 0 | 0.001 | -1.537 | 1.847
2026-Q2 | 0 | 0.0917 | 1.134 | 2.209
2026-Q2 | 1 | 0.5599 | 0.415 | 0.438
2026-Q2 | 1 | 0.7924 | -0.188 | 2.27
2026-Q2 | 0 | 0.2501 | 0.951 | 2.149
2026-Q2 | 1 | 0.8496 | -0.286 | 1.636
2026-Q2 | 0 | 0.4925 | -0.098 | 1.803
2026-Q2 | 1 | 0.8043 | 0.339 | 0.831
2026-Q2 | 0 | 0.1135 | 0.308 | 2.948
2026-Q2 | 0 | 0.0306 | -0.316 | 2.396
2026-Q2 | 0 | 0.1203 | -0.146 | 1.933
2026-Q2 | 0 | 0.0251 | 0.21 | 1.82
2026-Q2 | 0 | 0.3133 | 1.309 | 3.559
2026-Q2 | 0 | 0.5742 | -1.535 | 2.597
2026-Q2 | 1 | 0.6791 | -0.33 | 2.162
2026-Q2 | 1 | 0.9359 | 1.004 | 1.732
2026-Q2 | 0 | 0.1852 | 0.747 | 1.833
2026-Q2 | 0 | 0.001 | -0.489 | 1.995
2026-Q2 | 1 | 0.9377 | 0.79 | 1.075
2026-Q2 | 0 | 0.1605 | -0.825 | 1.715
2026-Q2 | 0 | 0.0929 | 0.467 | 2.327
2026-Q2 | 0 | 0.0607 | 1.538 | 1.818
2026-Q2 | 0 | 0.001 | -1.436 | 1.907
2026-Q2 | 0 | 0.1646 | 0.599 | 2.184
2026-Q2 | 1 | 0.866 | 0.879 | 1.041
2026-Q2 | 0 | 0.1552 | -0.931 | 2.771
2026-Q2 | 0 | 0.001 | 0.655 | 1.298
2026-Q2 | 0 | 0.001 | 0.491 | 2.796
2026-Q2 | 0 | 0.6763 | 0.324 | 1.861
2026-Q2 | 1 | 0.6459 | 0.403 | 2.146
2026-Q2 | 0 | 0.081 | -0.352 | 1.24
2026-Q2 | 0 | 0.3464 | -0.002 | 1.273
2026-Q2 | 0 | 0.1706 | 0.563 | 2.997
2026-Q2 | 0 | 0.257 | 1.438 | 1.852
2026-Q2 | 0 | 0.001 | 0.997 | 1.249
2026-Q2 | 0 | 0.2141 | 1.394 | 1.734
2026-Q2 | 0 | 0.3761 | 0.857 | 1.655
2026-Q2 | 1 | 0.9305 | 0.642 | 1.893
2026-Q2 | 0 | 0.001 | 0.735 | 2.305
2026-Q2 | 1 | 0.895 | 1.803 | 1.619
2026-Q2 | 0 | 0.1556 | -0.706 | 3.175
2026-Q2 | 0 | 0.2503 | 0.303 | 2.609
2026-Q2 | 1 | 0.7781 | 1.184 | 0.736
2026-Q2 | 0 | 0.2395 | 1.68 | 1.184
2026-Q2 | 0 | 0.3366 | 1.517 | 0.832
2026-Q2 | 0 | 0.2445 | 0.114 | 1.425
2026-Q2 | 0 | 0.001 | 0.321 | 1.283
2026-Q2 | 0 | 0.3752 | 1.385 | 2.962
2026-Q2 | 0 | 0.1886 | 1.463 | 2.232
2026-Q2 | 0 | 0.001 | 0.025 | 3.304
2026-Q2 | 1 | 0.8221 | 0.288 | 1.489
2026-Q2 | 1 | 0.999 | 1.292 | 0.65
2026-Q2 | 0 | 0.1676 | 1.318 | 2.011
2026-Q2 | 0 | 0.0577 | 0.73 | 3.167
2026-Q2 | 0 | 0.1699 | 0.406 | 1.125
2026-Q2 | 0 | 0.1285 | 1.58 | 1.002
2026-Q2 | 0 | 0.1057 | 1.168 | 2.461
2026-Q2 | 1 | 0.999 | -1.174 | 1.713
2026-Q2 | 1 | 0.6468 | -0.875 | 2.245
2026-Q2 | 0 | 0.607 | -0.447 | 0.817
2026-Q2 | 0 | 0.001 | -0.47 | 1.63
2026-Q2 | 1 | 0.4977 | -1.039 | 2.347
2026-Q2 | 0 | 0.3785 | 0.858 | 2.38
2026-Q2 | 0 | 0.0166 | -0.197 | 2.312
2026-Q2 | 1 | 0.999 | 0.243 | 2.595
2026-Q2 | 0 | 0.0531 | 0.387 | 1.559
2026-Q2 | 0 | 0.1386 | 1.871 | 1.138
2026-Q2 | 0 | 0.0838 | -0.3 | -0.094
2026-Q2 | 1 | 0.999 | -0.678 | 1.324
2026-Q2 | 0 | 0.409 | -0.03 | 1.939
2026-Q2 | 0 | 0.1938 | -1.237 | 1.991
2026-Q2 | 0 | 0.0743 | -1.451 | 1.876
2026-Q2 | 0 | 0.001 | -0.473 | 1.733
2026-Q2 | 0 | 0.2023 | 1.49 | 0.747
2026-Q2 | 0 | 0.001 | 1.732 | 3.258
2026-Q2 | 0 | 0.167 | 0.441 | 2.574
2026-Q2 | 0 | 0.4568 | 0.23 | 2.091
2026-Q3 | 1 | 0.3543 | 1.364 | 3.236
2026-Q3 | 0 | 0.4842 | -0.157 | 0.887
2026-Q3 | 0 | 0.001 | -0.012 | 2.914
2026-Q3 | 0 | 0.0388 | 1.689 | 1.49
2026-Q3 | 0 | 0.001 | -0.801 | 1.44
2026-Q3 | 1 | 0.6638 | 0.437 | 0.878
2026-Q3 | 0 | 0.001 | 1.369 | 1.025
2026-Q3 | 0 | 0.0877 | 0.398 | 0.82
2026-Q3 | 0 | 0.116 | -0.123 | 2.345
2026-Q3 | 0 | 0.4653 | 1.354 | 2.262
2026-Q3 | 1 | 0.999 | -1.305 | 0.853
2026-Q3 | 1 | 0.7101 | 0.216 | 2.88
2026-Q3 | 0 | 0.1558 | -0.476 | 1.737
2026-Q3 | 1 | 0.6774 | 0.531 | 1.699
2026-Q3 | 1 | 0.946 | 0.013 | 0.77
2026-Q3 | 0 | 0.1998 | -0.246 | 2.231
2026-Q3 | 0 | 0.001 | 1.154 | 2.468
2026-Q3 | 1 | 0.8991 | 0.484 | 2.476
2026-Q3 | 1 | 0.7566 | 0.781 | 0.425
2026-Q3 | 0 | 0.001 | 1.16 | 2.485
2026-Q3 | 1 | 0.5245 | -1.27 | 3.16
2026-Q3 | 1 | 0.6863 | 0.051 | 1.724
2026-Q3 | 1 | 0.5807 | 0.13 | 2.695
2026-Q3 | 0 | 0.001 | 1.139 | 0.616
2026-Q3 | 1 | 0.7927 | -1.469 | 1.509
2026-Q3 | 0 | 0.2425 | 0.838 | 1.97
2026-Q3 | 0 | 0.1245 | 1.565 | 3.052
2026-Q3 | 1 | 0.999 | -0.093 | 1.722
2026-Q3 | 0 | 0.3382 | 1.05 | 0.989
2026-Q3 | 0 | 0.1738 | 0.197 | 0.618
2026-Q3 | 0 | 0.001 | 0.976 | 1.328
2026-Q3 | 1 | 0.5242 | 1.402 | 2.199
2026-Q3 | 0 | 0.4333 | 0.832 | 2.597
2026-Q3 | 0 | 0.1196 | 2.169 | 1.406
2026-Q3 | 0 | 0.2317 | -0.354 | 0.849
2026-Q3 | 0 | 0.4334 | 1.339 | 3.58
2026-Q3 | 0 | 0.001 | 2.734 | 2.453
2026-Q3 | 0 | 0.0361 | 0.141 | 1.683
2026-Q3 | 0 | 0.001 | 0.149 | 1.739
2026-Q3 | 0 | 0.001 | 0.08 | 2.456
2026-Q3 | 0 | 0.001 | -0.552 | 1.01
2026-Q3 | 0 | 0.001 | -0.886 | 1.544
2026-Q3 | 0 | 0.001 | 2.441 | 1.447
2026-Q3 | 0 | 0.001 | -0.133 | 0.643
2026-Q3 | 1 | 0.5223 | 1.483 | 0.824
2026-Q3 | 0 | 0.4579 | 1.414 | 1.561
2026-Q3 | 0 | 0.1942 | 1.418 | 2.153
2026-Q3 | 0 | 0.001 | -1.237 | 1.249
2026-Q3 | 0 | 0.2281 | -0.252 | 1.847
2026-Q3 | 0 | 0.097 | 0.817 | 2.205
2026-Q3 | 0 | 0.001 | 0.5 | 2.555
2026-Q3 | 0 | 0.3473 | 0.616 | 2.196
2026-Q3 | 0 | 0.2291 | 0.129 | 2.403
2026-Q3 | 1 | 0.6852 | -0.791 | 2.136
2026-Q3 | 0 | 0.2487 | 0.689 | 1.83
2026-Q3 | 0 | 0.4411 | 0.008 | 1.582
2026-Q3 | 1 | 0.999 | -1.437 | 0.791
2026-Q3 | 1 | 0.582 | 0.163 | 2.338
2026-Q3 | 1 | 0.999 | -0.627 | 1.347
2026-Q3 | 1 | 0.7842 | 1.752 | 0.951
2026-Q3 | 1 | 0.7501 | -1.2 | 2.004
2026-Q3 | 1 | 0.6601 | -0.431 | 1.771
2026-Q3 | 0 | 0.4504 | 0.788 | 3.345
2026-Q3 | 1 | 0.5342 | -0.466 | 1.622
2026-Q3 | 0 | 0.3036 | 2.135 | 2.553
2026-Q3 | 1 | 0.9267 | 0.385 | 2.501
2026-Q3 | 0 | 0.1823 | 0.412 | 1.208
2026-Q3 | 0 | 0.0035 | 0.862 | 2.515
2026-Q3 | 0 | 0.5376 | 2.915 | 1.04
2026-Q3 | 0 | 0.0088 | 0.882 | 1.474
2026-Q3 | 1 | 0.8803 | 0.969 | 1.339
2026-Q3 | 0 | 0.1364 | 0.613 | 1.914
2026-Q3 | 0 | 0.001 | 0.184 | 0.515
2026-Q3 | 1 | 0.9927 | 2.153 | 3.281
2026-Q3 | 1 | 0.6296 | 1.153 | 2.196
2026-Q3 | 0 | 0.001 | 0.231 | 0.07
2026-Q3 | 0 | 0.2102 | -0.619 | 2.287
2026-Q3 | 1 | 0.4098 | 0.679 | 2.897
2026-Q3 | 0 | 0.001 | 0.543 | 1.638
2026-Q3 | 0 | 0.2219 | -1.072 | 1.775
2026-Q3 | 0 | 0.1498 | -0.722 | 1.776
2026-Q3 | 1 | 0.4941 | -1.192 | 1.096
2026-Q3 | 0 | 0.3551 | 1.105 | 2.222
2026-Q3 | 0 | 0.2399 | 0.117 | 0.89
2026-Q3 | 1 | 0.3467 | -0.993 | 1.309
2026-Q3 | 0 | 0.001 | -0.485 | 1.498
2026-Q3 | 1 | 0.999 | 0.703 | 3.3
2026-Q3 | 0 | 0.001 | -0.715 | 1.856
2026-Q3 | 1 | 0.8771 | -0.57 | 1.96
2026-Q3 | 0 | 0.1415 | 0.21 | 0.797
2026-Q3 | 1 | 0.9425 | 0.65 | 1.521
2026-Q3 | 0 | 0.001 | -0.568 | 1.31
2026-Q3 | 0 | 0.184 | -1.477 | 0.83
2026-Q3 | 1 | 0.6123 | 1.367 | 2.487
2026-Q3 | 0 | 0.1283 | 0.311 | 1.192
2026-Q3 | 1 | 0.8054 | 0.872 | 2.617
2026-Q3 | 0 | 0.2244 | 0.246 | 2.098
2026-Q3 | 0 | 0.001 | 0.126 | 0.531
2026-Q3 | 1 | 0.6118 | 0.743 | 0.834
2026-Q3 | 1 | 0.3849 | 0.648 | 1.564
2026-Q3 | 0 | 0.1744 | 0.813 | 1.578
2026-Q3 | 0 | 0.2237 | 1.273 | 1.794
2026-Q3 | 0 | 0.0177 | -0.336 | 1.497
2026-Q3 | 1 | 0.7516 | 0.122 | 2.815
2026-Q3 | 0 | 0.5347 | -0.27 | 1.544
2026-Q3 | 0 | 0.001 | -0.124 | 1.484
2026-Q3 | 1 | 0.9898 | -2.275 | 3.03
2026-Q3 | 0 | 0.001 | -1.507 | 3.406
2026-Q3 | 1 | 0.999 | 1.078 | 2.518
2026-Q3 | 0 | 0.0448 | -0.795 | 2.171
2026-Q3 | 0 | 0.2141 | -0.484 | 2.806
2026-Q3 | 0 | 0.5571 | 0.732 | 2.11
2026-Q3 | 0 | 0.001 | -1.099 | 0.956
2026-Q3 | 0 | 0.3834 | 2.321 | 2.462
2026-Q3 | 1 | 0.6762 | 1.947 | 2.273
2026-Q3 | 1 | 0.9484 | -1.814 | 1.62
2026-Q3 | 0 | 0.248 | 1.506 | 1.529
2026-Q3 | 0 | 0.083 | 1.269 | 0.716
2026-Q3 | 1 | 0.2707 | 1.319 | 2.61
2026-Q3 | 0 | 0.2233 | -1.17 | 0.207
2026-Q3 | 1 | 0.7679 | 0.052 | 0.983
2026-Q3 | 1 | 0.8268 | 0.687 | 0.073
2026-Q3 | 0 | 0.1445 | 0.172 | 2.238
2026-Q3 | 0 | 0.0042 | 0.728 | 3.141
2026-Q3 | 1 | 0.5492 | 0.422 | 1.971
2026-Q3 | 1 | 0.4137 | 1.597 | 2.343
2026-Q3 | 0 | 0.001 | -1.297 | 0.825
2026-Q3 | 1 | 0.825 | 1.233 | 3.397
2026-Q3 | 0 | 0.1039 | 1.259 | 1.8
2026-Q3 | 1 | 0.3042 | 1.919 | 2.638
2026-Q3 | 0 | 0.2286 | -1.66 | 3.64
2026-Q3 | 0 | 0.001 | -1.564 | 0.78
2026-Q3 | 0 | 0.2255 | -0.385 | 0.764
2026-Q3 | 0 | 0.1943 | 1.08 | 3.574
2026-Q3 | 0 | 0.3599 | -0.312 | 1.663
2026-Q3 | 0 | 0.3046 | 2.112 | 1.946
2026-Q3 | 1 | 0.6066 | -0.722 | 1.193
2026-Q3 | 0 | 0.001 | 0.92 | 2.293
2026-Q3 | 0 | 0.001 | 0.641 | 0.885
2026-Q3 | 0 | 0.4541 | 1.447 | 2.753
2026-Q3 | 0 | 0.001 | 0.718 | 1.997
2026-Q3 | 1 | 0.6034 | -0.289 | 1.369
2026-Q3 | 0 | 0.242 | -2.02 | 1.873
2026-Q3 | 0 | 0.001 | 0.27 | 1.799
2026-Q3 | 0 | 0.001 | 2.325 | 2.621
2026-Q3 | 0 | 0.001 | -0.171 | 1.59
2026-Q3 | 0 | 0.1986 | 0.29 | 2.201
2026-Q3 | 1 | 0.3749 | 1.286 | 2.349
2026-Q3 | 0 | 0.001 | -0.644 | 2.341
2026-Q3 | 0 | 0.3236 | 0.566 | 1.653
2026-Q3 | 0 | 0.001 | 1.219 | 1.697
2026-Q3 | 0 | 0.001 | -0.218 | 0.692
2026-Q3 | 0 | 0.1118 | 1.021 | 1.706
2026-Q3 | 0 | 0.001 | 0.537 | 1.381
2026-Q3 | 0 | 0.0101 | 0.319 | 2.208
2026-Q3 | 0 | 0.226 | 1.34 | 1.582
2026-Q3 | 0 | 0.001 | -2.107 | 0.522
2026-Q3 | 1 | 0.814 | 0.257 | 1.006
2026-Q3 | 1 | 0.7758 | 1.61 | 0.423
2026-Q3 | 1 | 0.5266 | 1.431 | 1.692
2026-Q3 | 1 | 0.8598 | 0.566 | 1.884
2026-Q3 | 1 | 0.5302 | 1.395 | 1.89
2026-Q3 | 1 | 0.643 | 1.814 | 0.728
2026-Q3 | 1 | 0.5814 | -0.441 | 1.52
2026-Q3 | 0 | 0.001 | 1.622 | 2.473
2026-Q3 | 0 | 0.1387 | 0.272 | 0.585
2026-Q3 | 1 | 0.2303 | 1.128 | 2.022
2026-Q3 | 1 | 0.5226 | -0.278 | 1.991
2026-Q3 | 0 | 0.0158 | 0.917 | 1.178
2026-Q3 | 1 | 0.8207 | -1.413 | 2.118
2026-Q3 | 1 | 0.7703 | -0.662 | 2.623
2026-Q3 | 1 | 0.603 | 0.646 | 0.01
2026-Q3 | 0 | 0.4489 | 2.759 | 1.12
2026-Q3 | 0 | 0.001 | 0.641 | 2.382
2026-Q3 | 1 | 0.6664 | 1.7 | 2.76
2026-Q3 | 0 | 0.1284 | 0.892 | 0.486
2026-Q3 | 0 | 0.001 | 0.538 | 2.118
2026-Q3 | 0 | 0.001 | 0.847 | 1.615
2026-Q3 | 0 | 0.1521 | -0.481 | 2.217
2026-Q3 | 0 | 0.001 | -1.888 | 1.937
2026-Q4 | 0 | 0.001 | 1.443 | 2.491
2026-Q4 | 1 | 0.2887 | -0.222 | 1.732
2026-Q4 | 1 | 0.7012 | 1.323 | 1.436
2026-Q4 | 0 | 0.5923 | -0.272 | 2.381
2026-Q4 | 0 | 0.1877 | -0.661 | 2.186
2026-Q4 | 0 | 0.3586 | -0.845 | 3.462
2026-Q4 | 0 | 0.001 | -1.012 | 1.162
2026-Q4 | 0 | 0.3105 | 3.098 | 0.732
2026-Q4 | 1 | 0.5469 | 1.206 | 1.875
2026-Q4 | 0 | 0.242 | 0.227 | 0.908
2026-Q4 | 0 | 0.1368 | 1.254 | 3.258
2026-Q4 | 0 | 0.001 | 1.711 | 2.148
2026-Q4 | 0 | 0.2766 | 0.897 | 2.277
2026-Q4 | 0 | 0.1201 | 1.268 | 2.111
2026-Q4 | 0 | 0.001 | 0.471 | 1.492
2026-Q4 | 1 | 0.8597 | -0.602 | 1.776
2026-Q4 | 0 | 0.0798 | 0.371 | 1.251
2026-Q4 | 0 | 0.0211 | 0.731 | 2.526
2026-Q4 | 0 | 0.0901 | 0.671 | 1.077
2026-Q4 | 0 | 0.001 | -1.108 | -0.003
2026-Q4 | 0 | 0.1046 | 0.353 | 2.057
2026-Q4 | 0 | 0.001 | 2.366 | 2.196
2026-Q4 | 0 | 0.1779 | -0.436 | -0.379
2026-Q4 | 1 | 0.5446 | 0.202 | 1.524
2026-Q4 | 0 | 0.3163 | 4.079 | 0.184
2026-Q4 | 0 | 0.001 | 1.68 | 1.656
2026-Q4 | 0 | 0.4911 | 0.069 | 1.122
2026-Q4 | 0 | 0.2459 | 0.503 | 2.099
2026-Q4 | 0 | 0.001 | 1.042 | 2.066
2026-Q4 | 0 | 0.1765 | -1.06 | 2.543
2026-Q4 | 0 | 0.4739 | -0.946 | 1.486
2026-Q4 | 0 | 0.2338 | 2.2 | 1.819
2026-Q4 | 1 | 0.2848 | 0.082 | 1.057
2026-Q4 | 0 | 0.046 | -0.084 | 1.861
2026-Q4 | 1 | 0.8132 | -0.175 | 1.478
2026-Q4 | 0 | 0.3209 | -0.41 | 2.097
2026-Q4 | 0 | 0.001 | 1.695 | 2.043
2026-Q4 | 0 | 0.1886 | 1.362 | 1.417
2026-Q4 | 0 | 0.2134 | -0.487 | 1.154
2026-Q4 | 0 | 0.3176 | -0.156 | 2.456
2026-Q4 | 1 | 0.9644 | -0.536 | 1.335
2026-Q4 | 0 | 0.1388 | -0.11 | 1.364
2026-Q4 | 0 | 0.2931 | 0.465 | 0.84
2026-Q4 | 0 | 0.001 | 0.761 | 0.852
2026-Q4 | 0 | 0.001 | 2.421 | 1.987
2026-Q4 | 1 | 0.7179 | 2.778 | 1.72
2026-Q4 | 0 | 0.001 | -0.509 | 1.269
2026-Q4 | 1 | 0.3708 | 0.636 | 1.693
2026-Q4 | 0 | 0.0279 | -0.377 | 2.384
2026-Q4 | 0 | 0.254 | -0.179 | 1.885
2026-Q4 | 0 | 0.001 | 0.94 | 2.498
2026-Q4 | 0 | 0.4731 | 1.913 | 2.619
2026-Q4 | 0 | 0.2824 | 1.508 | 0.879
2026-Q4 | 0 | 0.001 | 0.206 | 1.433
2026-Q4 | 0 | 0.0012 | -0.641 | 1.775
2026-Q4 | 0 | 0.0684 | -0.628 | 3.196
2026-Q4 | 1 | 0.3341 | 1.286 | 2.008
2026-Q4 | 1 | 0.7201 | 0.257 | 2.062
2026-Q4 | 0 | 0.001 | -0.936 | 0.532
2026-Q4 | 0 | 0.001 | 1.302 | 0.867
2026-Q4 | 0 | 0.1955 | 0.213 | 1.553
2026-Q4 | 1 | 0.4796 | -0.943 | 0.221
2026-Q4 | 0 | 0.1955 | 2.258 | 2.672
2026-Q4 | 0 | 0.3047 | 0.549 | 2.61
2026-Q4 | 1 | 0.5858 | 1.462 | 0.941
2026-Q4 | 1 | 0.3565 | 1.412 | 1.401
2026-Q4 | 0 | 0.1712 | 2.577 | 1.916
2026-Q4 | 1 | 0.999 | 0.729 | 1.547
2026-Q4 | 0 | 0.001 | 0.665 | 1.088
2026-Q4 | 0 | 0.0385 | -1.424 | 1.376
2026-Q4 | 1 | 0.5959 | -1.624 | 1.989
2026-Q4 | 0 | 0.0532 | 0.764 | 2.106
2026-Q4 | 0 | 0.2734 | 1.043 | 1.34
2026-Q4 | 0 | 0.0428 | 0.516 | 0.385
2026-Q4 | 0 | 0.2845 | 0.729 | 1.738
2026-Q4 | 1 | 0.7567 | 1.028 | 2.241
2026-Q4 | 1 | 0.8288 | -0.6 | 3.612
2026-Q4 | 0 | 0.001 | 0.983 | 2.285
2026-Q4 | 1 | 0.8685 | 1.855 | 2.027
2026-Q4 | 0 | 0.2128 | 0.444 | 1.512
2026-Q4 | 0 | 0.0136 | 2.156 | 1.124
2026-Q4 | 1 | 0.8105 | 0.85 | 0.89
2026-Q4 | 0 | 0.3262 | 1.087 | 0.672
2026-Q4 | 0 | 0.001 | 0.698 | 2.097
2026-Q4 | 0 | 0.2528 | -1.68 | 2.299
2026-Q4 | 0 | 0.001 | 1.091 | 1.489
2026-Q4 | 1 | 0.9088 | -0.162 | 1.516
2026-Q4 | 1 | 0.6258 | 1.47 | 1.97
2026-Q4 | 0 | 0.001 | 0.952 | 1.118
2026-Q4 | 0 | 0.001 | 0.59 | 1.119
2026-Q4 | 0 | 0.001 | 0.336 | 2.034
2026-Q4 | 1 | 0.1876 | 0.518 | 2.499
2026-Q4 | 1 | 0.9854 | 2.208 | 0.878
2026-Q4 | 0 | 0.1546 | 0.889 | 2.263
2026-Q4 | 0 | 0.001 | 0.967 | 2.112
2026-Q4 | 0 | 0.001 | 0.934 | 1.048
2026-Q4 | 0 | 0.2278 | 0.61 | 0.366
2026-Q4 | 0 | 0.5411 | -0.483 | 3.101
2026-Q4 | 1 | 0.8265 | -0.379 | 1.32
2026-Q4 | 0 | 0.0496 | 2.61 | 1.244
2026-Q4 | 0 | 0.4716 | -0.259 | 2.206
2026-Q4 | 0 | 0.0683 | -0.353 | 3.511
2026-Q4 | 1 | 0.5727 | 1.095 | 1.91
2026-Q4 | 0 | 0.001 | -0.296 | 2.792
2026-Q4 | 0 | 0.1592 | 0.853 | 1.005
2026-Q4 | 1 | 0.4937 | 1.285 | 3.273
2026-Q4 | 1 | 0.9071 | 1.666 | 0.192
2026-Q4 | 0 | 0.2732 | 0.972 | 1.667
2026-Q4 | 0 | 0.2267 | 2.272 | 1.494
2026-Q4 | 0 | 0.3912 | 0.305 | 1.328
2026-Q4 | 0 | 0.001 | 1.103 | 1.868
2026-Q4 | 0 | 0.001 | -0.453 | 3.524
2026-Q4 | 1 | 0.3659 | -0.136 | 1.646
2026-Q4 | 0 | 0.001 | 2.116 | 1.868
2026-Q4 | 0 | 0.001 | 2.606 | 0.944
2026-Q4 | 1 | 0.999 | -1.051 | 2.14
2026-Q4 | 0 | 0.7421 | 2.058 | 1.79
2026-Q4 | 1 | 0.1353 | 0.265 | 1.387
2026-Q4 | 0 | 0.001 | 0.36 | 0.146
2026-Q4 | 0 | 0.0624 | 1.385 | 2.066
2026-Q4 | 0 | 0.001 | 1.407 | 2.154
2026-Q4 | 0 | 0.0139 | 0.51 | 0.458
2026-Q4 | 0 | 0.0574 | -2.111 | 1.478
2026-Q4 | 1 | 0.4213 | 0.805 | -0.013
2026-Q4 | 1 | 0.7071 | 0.095 | 2.766
2026-Q4 | 0 | 0.001 | 0.051 | 2.268
2026-Q4 | 0 | 0.001 | 0.882 | 1.166
2026-Q4 | 0 | 0.0166 | 2.092 | 0.428
2026-Q4 | 0 | 0.1344 | 2.01 | 2.374
2026-Q4 | 0 | 0.0603 | 0 | 1.816
2026-Q4 | 1 | 0.4043 | 0.729 | 2.613
2026-Q4 | 0 | 0.5294 | -0.243 | 1.741
2026-Q4 | 0 | 0.122 | 0.608 | 1.509
2026-Q4 | 0 | 0.1989 | 0.548 | 1.702
2026-Q4 | 0 | 0.1798 | 1.888 | 1.642
2026-Q4 | 0 | 0.001 | 1.497 | 1.049
2026-Q4 | 0 | 0.0184 | 0.577 | 1.14
2026-Q4 | 1 | 0.3934 | 0.113 | 1.77
2026-Q4 | 1 | 0.6102 | -0.446 | 2.152
2026-Q4 | 0 | 0.408 | -1.469 | 1.917
2026-Q4 | 0 | 0.001 | 0.14 | 2.014
2026-Q4 | 0 | 0.1365 | 1.163 | 0.465
2026-Q4 | 0 | 0.2399 | -0.464 | 0.881
2026-Q4 | 1 | 0.4343 | 0.183 | 1.671
2026-Q4 | 0 | 0.2692 | 1.998 | 1.358
2026-Q4 | 0 | 0.0497 | 0.09 | 1.273
2026-Q4 | 0 | 0.001 | 0.614 | 2.709
2026-Q4 | 0 | 0.001 | 0.285 | 1.571
2026-Q4 | 0 | 0.0533 | 0.787 | 2.431
2026-Q4 | 0 | 0.001 | 2.419 | 1.881
2026-Q4 | 0 | 0.0338 | 0.065 | 1.687
2026-Q4 | 0 | 0.0075 | 1.65 | 2.83
2026-Q4 | 1 | 0.7714 | -1.615 | 2.324
2026-Q4 | 0 | 0.001 | 0.327 | 1.88
2026-Q4 | 0 | 0.001 | 0.345 | 1.69
2026-Q4 | 1 | 0.3388 | 0.932 | 3.153
2026-Q4 | 1 | 0.8844 | 0.733 | 0.79
2026-Q4 | 0 | 0.3241 | 1.626 | 2.081
2026-Q4 | 0 | 0.5316 | 1.258 | 1.871
2026-Q4 | 0 | 0.1648 | 0.966 | 1.48
2026-Q4 | 0 | 0.1281 | 0.256 | 3.139
2026-Q4 | 1 | 0.5747 | 1.123 | 1.956
2026-Q4 | 0 | 0.0505 | 1.386 | 1.717
2026-Q4 | 1 | 0.7777 | 1.004 | 1.706
2026-Q4 | 1 | 0.3947 | 0.881 | 1.99
2026-Q4 | 0 | 0.3709 | 1.133 | 1.597
2026-Q4 | 0 | 0.001 | 0.644 | 1.281
2026-Q4 | 1 | 0.9199 | 0.462 | 2.124
2026-Q4 | 1 | 0.5487 | -0.339 | 2.272
2026-Q4 | 1 | 0.9371 | -0.738 | 1.224
2026-Q4 | 0 | 0.1003 | -0.381 | 1.281
2026-Q4 | 0 | 0.0798 | 2.087 | 1.731
2026-Q4 | 0 | 0.2571 | 0.216 | 1.262
2026-Q4 | 0 | 0.0798 | -0.243 | 2.392
2026-Q4 | 1 | 0.8901 | 0.893 | 0.558
2026-Q4 | 0 | 0.4033 | 1.894 | 0.785
2026-Q4 | 0 | 0.329 | 0.414 | 2.899
2026-Q4 | 1 | 0.4456 | 0.75 | 1.94
2026-Q4 | 1 | 0.608 | 0.186 | 1.227
2026-Q4 | 1 | 0.319 | -0.199 | 1.077

## Field_Guide
Worksheet | Field | Suggested type | Guidance
Monitoring | period | Text | Required by the module unless described as optional in the module README.
Monitoring | actual | Integer | Required by the module unless described as optional in the module README.
Monitoring | score | Number | Required by the module unless described as optional in the module README.
Monitoring | feature_1 | Number | Required by the module unless described as optional in the module README.
Monitoring | feature_2 | Number | Required by the module unless described as optional in the module README.