## Instructions
AIHE Python Companion — Module 27: Algorithmovigilance, drift, and lifecycle monitoring
Purpose | Monitors technical, clinical, workflow, equity, economic, and trust indicators against warning and stop thresholds over time.
Workbook type | Synthetic worked example
Book themes | Algorithmovigilance, performance drift, material change, dashboards, incident response, renewal, restriction, and de-adoption.
Required inputs | `Monitoring` sheet with date, indicator, domain, value, subgroup, model_version; `Thresholds` sheet with indicator, direction, warning threshold, stop threshold, owner, and response.
Expected outputs | Indicator status by date, warning/stop events, version comparison, subgroup signals, trend charts, and response register.
Notebook | notebooks/27_algorithmovigilance_monitoring.ipynb
Standalone script | scripts/27_algorithmovigilance_monitoring.py
Run command | python scripts/27_algorithmovigilance_monitoring.py --input sample_data/27_algorithmovigilance_monitoring_sample.xlsx --output example_outputs/27_algorithmovigilance_monitoring
Privacy | Use synthetic or appropriately governed data only. Do not upload identifiable patient data to public repositories.
Status | Educational example; not a validated clinical, regulatory, or reimbursement instrument.

## Monitoring
date | indicator | domain | value | subgroup | model_version
2025-01-01 | AUC | Technical | 0.7781 | All | v1.0
2025-01-01 | Brier score | Technical | 0.1924 | All | v1.0
2025-01-01 | False alert rate | Workflow | 0.1732 | All | v1.0
2025-01-01 | Older-adult sensitivity | Equity | 0.7708 | Older adults | v1.0
2025-01-01 | Cost per use | Economic | 26.243 | All | v1.0
2025-01-01 | Complaint rate | Trust | 0.0195 | All | v1.0
2025-02-01 | AUC | Technical | 0.7763 | All | v1.0
2025-02-01 | Brier score | Technical | 0.18 | All | v1.0
2025-02-01 | False alert rate | Workflow | 0.1826 | All | v1.0
2025-02-01 | Older-adult sensitivity | Equity | 0.7608 | Older adults | v1.0
2025-02-01 | Cost per use | Economic | 27.3905 | All | v1.0
2025-02-01 | Complaint rate | Trust | 0.0141 | All | v1.0
2025-03-01 | AUC | Technical | 0.7512 | All | v1.0
2025-03-01 | Brier score | Technical | 0.1871 | All | v1.0
2025-03-01 | False alert rate | Workflow | 0.1849 | All | v1.0
2025-03-01 | Older-adult sensitivity | Equity | 0.7563 | Older adults | v1.0
2025-03-01 | Cost per use | Economic | 27.2826 | All | v1.0
2025-03-01 | Complaint rate | Trust | 0.0212 | All | v1.0
2025-04-01 | AUC | Technical | 0.7678 | All | v1.0
2025-04-01 | Brier score | Technical | 0.1814 | All | v1.0
2025-04-01 | False alert rate | Workflow | 0.1985 | All | v1.0
2025-04-01 | Older-adult sensitivity | Equity | 0.7508 | Older adults | v1.0
2025-04-01 | Cost per use | Economic | 28.026 | All | v1.0
2025-04-01 | Complaint rate | Trust | 0.0117 | All | v1.0
2025-05-01 | AUC | Technical | 0.7542 | All | v1.0
2025-05-01 | Brier score | Technical | 0.192 | All | v1.0
2025-05-01 | False alert rate | Workflow | 0.2225 | All | v1.0
2025-05-01 | Older-adult sensitivity | Equity | 0.7259 | Older adults | v1.0
2025-05-01 | Cost per use | Economic | 29.155 | All | v1.0
2025-05-01 | Complaint rate | Trust | 0.0189 | All | v1.0
2025-06-01 | AUC | Technical | 0.7518 | All | v1.0
2025-06-01 | Brier score | Technical | 0.1934 | All | v1.0
2025-06-01 | False alert rate | Workflow | 0.1961 | All | v1.0
2025-06-01 | Older-adult sensitivity | Equity | 0.7564 | Older adults | v1.0
2025-06-01 | Cost per use | Economic | 31.9496 | All | v1.0
2025-06-01 | Complaint rate | Trust | 0.0283 | All | v1.0
2025-07-01 | AUC | Technical | 0.7527 | All | v1.0
2025-07-01 | Brier score | Technical | 0.2131 | All | v1.0
2025-07-01 | False alert rate | Workflow | 0.2161 | All | v1.0
2025-07-01 | Older-adult sensitivity | Equity | 0.7298 | Older adults | v1.0
2025-07-01 | Cost per use | Economic | 30.0485 | All | v1.0
2025-07-01 | Complaint rate | Trust | 0.0303 | All | v1.0
2025-08-01 | AUC | Technical | 0.7573 | All | v1.0
2025-08-01 | Brier score | Technical | 0.2028 | All | v1.0
2025-08-01 | False alert rate | Workflow | 0.2335 | All | v1.0
2025-08-01 | Older-adult sensitivity | Equity | 0.7069 | Older adults | v1.0
2025-08-01 | Cost per use | Economic | 31.8532 | All | v1.0
2025-08-01 | Complaint rate | Trust | 0.0302 | All | v1.0
2025-09-01 | AUC | Technical | 0.7686 | All | v1.0
2025-09-01 | Brier score | Technical | 0.2026 | All | v1.0
2025-09-01 | False alert rate | Workflow | 0.2247 | All | v1.0
2025-09-01 | Older-adult sensitivity | Equity | 0.7063 | Older adults | v1.0
2025-09-01 | Cost per use | Economic | 32.4381 | All | v1.0
2025-09-01 | Complaint rate | Trust | 0.0286 | All | v1.0
2025-10-01 | AUC | Technical | 0.7446 | All | v1.1
2025-10-01 | Brier score | Technical | 0.2038 | All | v1.1
2025-10-01 | False alert rate | Workflow | 0.2371 | All | v1.1
2025-10-01 | Older-adult sensitivity | Equity | 0.6991 | Older adults | v1.1
2025-10-01 | Cost per use | Economic | 29.8016 | All | v1.1
2025-10-01 | Complaint rate | Trust | 0.0284 | All | v1.1
2025-11-01 | AUC | Technical | 0.7493 | All | v1.1
2025-11-01 | Brier score | Technical | 0.2275 | All | v1.1
2025-11-01 | False alert rate | Workflow | 0.2667 | All | v1.1
2025-11-01 | Older-adult sensitivity | Equity | 0.6873 | Older adults | v1.1
2025-11-01 | Cost per use | Economic | 32.1943 | All | v1.1
2025-11-01 | Complaint rate | Trust | 0.0394 | All | v1.1
2025-12-01 | AUC | Technical | 0.7283 | All | v1.1
2025-12-01 | Brier score | Technical | 0.2296 | All | v1.1
2025-12-01 | False alert rate | Workflow | 0.2564 | All | v1.1
2025-12-01 | Older-adult sensitivity | Equity | 0.6674 | Older adults | v1.1
2025-12-01 | Cost per use | Economic | 36.8995 | All | v1.1
2025-12-01 | Complaint rate | Trust | 0.0364 | All | v1.1
2026-01-01 | AUC | Technical | 0.7413 | All | v1.1
2026-01-01 | Brier score | Technical | 0.2473 | All | v1.1
2026-01-01 | False alert rate | Workflow | 0.2748 | All | v1.1
2026-01-01 | Older-adult sensitivity | Equity | 0.6736 | Older adults | v1.1
2026-01-01 | Cost per use | Economic | 36.5227 | All | v1.1
2026-01-01 | Complaint rate | Trust | 0.0378 | All | v1.1
2026-02-01 | AUC | Technical | 0.7203 | All | v1.1
2026-02-01 | Brier score | Technical | 0.2353 | All | v1.1
2026-02-01 | False alert rate | Workflow | 0.2624 | All | v1.1
2026-02-01 | Older-adult sensitivity | Equity | 0.6928 | Older adults | v1.1
2026-02-01 | Cost per use | Economic | 39.2387 | All | v1.1
2026-02-01 | Complaint rate | Trust | 0.0369 | All | v1.1
2026-03-01 | AUC | Technical | 0.7289 | All | v1.1
2026-03-01 | Brier score | Technical | 0.2313 | All | v1.1
2026-03-01 | False alert rate | Workflow | 0.2546 | All | v1.1
2026-03-01 | Older-adult sensitivity | Equity | 0.693 | Older adults | v1.1
2026-03-01 | Cost per use | Economic | 37.1714 | All | v1.1
2026-03-01 | Complaint rate | Trust | 0.0461 | All | v1.1
2026-04-01 | AUC | Technical | 0.7295 | All | v1.1
2026-04-01 | Brier score | Technical | 0.248 | All | v1.1
2026-04-01 | False alert rate | Workflow | 0.2671 | All | v1.1
2026-04-01 | Older-adult sensitivity | Equity | 0.659 | Older adults | v1.1
2026-04-01 | Cost per use | Economic | 38.0762 | All | v1.1
2026-04-01 | Complaint rate | Trust | 0.05 | All | v1.1
2026-05-01 | AUC | Technical | 0.7236 | All | v1.1
2026-05-01 | Brier score | Technical | 0.2316 | All | v1.1
2026-05-01 | False alert rate | Workflow | 0.2663 | All | v1.1
2026-05-01 | Older-adult sensitivity | Equity | 0.6545 | Older adults | v1.1
2026-05-01 | Cost per use | Economic | 37.4363 | All | v1.1
2026-05-01 | Complaint rate | Trust | 0.0516 | All | v1.1
2026-06-01 | AUC | Technical | 0.7246 | All | v1.1
2026-06-01 | Brier score | Technical | 0.2427 | All | v1.1
2026-06-01 | False alert rate | Workflow | 0.2821 | All | v1.1
2026-06-01 | Older-adult sensitivity | Equity | 0.6434 | Older adults | v1.1
2026-06-01 | Cost per use | Economic | 38.5243 | All | v1.1
2026-06-01 | Complaint rate | Trust | 0.0474 | All | v1.1

## Thresholds
indicator | direction | warning_threshold | stop_threshold | owner | response
AUC | lower_is_worse | 0.7 | 0.62 | Data science owner | Review model and data; restrict if stop
Brier score | higher_is_worse | 0.24 | 0.3 | Data science owner | Recalibrate or suspend
False alert rate | higher_is_worse | 0.25 | 0.35 | Clinical owner | Change threshold and workflow
Older-adult sensitivity | lower_is_worse | 0.7 | 0.6 | Equity owner | Mitigate, restrict, or stop
Cost per use | higher_is_worse | 35 | 50 | Finance owner | Renegotiate or limit scale
Complaint rate | higher_is_worse | 0.04 | 0.08 | Patient engagement owner | Investigate and communicate

## Field_Guide
Worksheet | Field | Suggested type | Guidance
Monitoring | date | Date | Required by the module unless described as optional in the module README.
Monitoring | indicator | Text | Required by the module unless described as optional in the module README.
Monitoring | domain | Text | Required by the module unless described as optional in the module README.
Monitoring | value | Number | Required by the module unless described as optional in the module README.
Monitoring | subgroup | Text | Required by the module unless described as optional in the module README.
Monitoring | model_version | Text | Required by the module unless described as optional in the module README.
Thresholds | indicator | Text | Required by the module unless described as optional in the module README.
Thresholds | direction | Text | Required by the module unless described as optional in the module README.
Thresholds | warning_threshold | Number | Required by the module unless described as optional in the module README.
Thresholds | stop_threshold | Number | Required by the module unless described as optional in the module README.
Thresholds | owner | Text | Required by the module unless described as optional in the module README.
Thresholds | response | Text | Required by the module unless described as optional in the module README.